08/18/2025

## Section 578. — PRECAST CONCRETE ELEMENTS

Include if project has precast concrete elements.

578.09 Acceptance. Add the following:

Concrete for precast box culvert elements will be evaluated under Section 552.