# Record of Specification Revisions for Western Federal Land’s Library of Specifications FP-24

The following record of revisions to the Library of Specifications (LOS) is offered as a “quick reference” to determine the latest changes to specifications. While we strive to keep this document current, the best practice is to check each applicable Section of the LOS for updates.

| SPECIFICATION SECTION | REVISION DATE | REVISION DESCRIPTION |
| --- | --- | --- |
| Notice to Bidders | | |
| NTB Part II | 01 NOV 2024 | Revised the Notice for **HUBZone Small Business Set-Aside** by deleting the reference to work that is self-performed by the business. |
| NTB Part II | 01 NOV 2024 | Revised the Notice for **Price Evaluation Factor** by deleting the reference to work that is self-performed by the business. |
| DIVISION 100 | | |
| Section 101 – Terms, Format, and Definitions | | |
| 101.03(a) | 01 APR 2025 | Deletes abbreviations that are not used, or only used in one Section. |
| 101.04 | 01 APR 2025 | Deletes the definition of (c) Supplemental Agreement under the definition of Contract Modification. |
| Section 102 – Bid, Award, and Execution of Contract | | |
| 102.02 | 01 APR 2025 | Adds SCR for preparation of offers for MATOC projects where the selection of the successful offeror is based on lowest price. |
| Section 104 - Control of Work | | |
| 104.06(b)(2)*(l)* | 01 APR 2025 | Corrects LOS error in Subsection numbering for concrete box culvert details. |
| Section 105 – Control of Material | | |
| 105.02(a) | 01 APR 2025 | Corrects LOS error in Subsection numbering for Government-furnished sources. |
| Section 106 - Acceptance of Work | | |
| 106.01 | 01 JUL 2024 | Added 2009 MUTCD to referenced standards. This is an interim solution until we are ready to begin using the new version of the MUTCD. |
| Section 107 – Legal Relations and Responsibility to the Public | | |
| 107.01A(c) | 01 NOV 2024 | CASE 3: Corrects a formatting error in Public Notice sign requirements. |
| 107.10(c) | 01 NOV 2024 | CASE 1: This change corrects an error in the LOS. CASE 1 is now revised to match the existing requirements of Subsection 107.01 (d) Sites outside construction limits in CASES 2 through 7. |
| 107.10(e) | 01 NOV 2024 | ALL CASES are revised to delete “as appropriate” from the requirement to dispose of trash from the project. This change is a result of Legal reviews of PS&E. |
| Section 108 – Prosecution and Progress | | |
| 108.03 | 01 NOV 2024 | Deleted the SCR for Full and Open projects. There is no longer a self-performance requirement in that FAR clause. |
| 108.03 | 01 NOV 2024 | Deleted the SCR for HUBZone Small Business Set-Aside projects. There is no longer a self-performance requirement in that FAR clause. |
| Section 109 – Measurement and Payment | | |
| 109.01 | 01 APR 2025 | Deletes the requirement to remeasure quantities for work that has not been completed as shown in the plans or established by the CO. |
| 109.02(d)(1)*(a)* | 01 APR 2025 | Deletes the requirement to not measure work outside the lines or slopes established by the CO. This requirement is specified in Subsection 109.01.  Deletes the requirement to retake cross-sections or measurements of work that is not completed to the established lines and slopes. The requirement conflicts with Subsection 109.01 requirement to not measure work outside the adjusted or specified limits (staked limits). |
| DIVISION 150 | | |
| Section 152 – Construction Survey and Staking | | |
| 152.04 | 01 APR 2025 | Clarifies that the Government will set a stake to identify the approximate beginning of the project in cases where no control is furnished. |
| 152.04(b) | 01 APR 2025 | Deletes the requirement for 10 days notice of missing control points or stakes. 10 days is not needed.. |
| Section 156 – Public Traffic | | |
| 156.06 | 01 APR 2025 | Corrects LOS error in Subsection numbering for Limitations on Construction Operations. |
| 156.08 | 01 APR 2025 | Corrects LOS error in Subsection numbering for Traffic Control Supervisor. |
| DIVISION 200 | | |
| Section 204 – Excavation and Embankment | | |
| 204.16(c)(1)*(a)* | 01 APR 2025 | Adds a requirement to measure embankment construction using the design volume. |
| DIVISION 250 | | |
| Section 255 – Mechanically Stabilized Earth Walls | | |
| 255.04 | 01 NOV 2024 | This SCR is added to correct a typographical error in the example for wall construction vertical tolerances. Footnote (1) of Table 255-1 is revised. |
| DIVISION 300 | | |
| Section 311 – Stabilized Aggregate Surface Course | | |
| 311.02 | 01 NOV 2024 | Revised materials references. |
| 311.07 | 01 NOV 2024 | Minor editorial revisions |
| 311.08 | 01 NOV 2024 | Table 311-1 is revised for DAR Projects. Statistical Acceptance of the gradation, fractured faces, and liquid limits are changed from Category I to Category II.  This reduces the maximum possible pay factor for this work from 1.05 to 1.00 for DAR Projects.  Two Table 311-1 are provided. One for DAR Projects and one for projects that are not DAR Projects. |
| 311.09 | 01 NOV 2024 | Measurement of water under Section 158 is deleted. Section 158 measures water for dust control, not for compaction. Federal Lands does not measure water for compaction under any other Section of the contract. Water for compaction is historically subsidiary to earthwork construction. |
| DIVISION 500 | | |
| Section 501 – Minor Concrete Pavement | | |
| 501.03 | 01 APR 2025 | Adds form number and title for Minor Portland Cement Concrete Mix Design. |
| DIVISION 550 | | |
| Section 554 – Reinforcing Steel | | |
| 554.08 | 01 APR 2025 | Corrects an error in the FP-24. Revises vertical tolerance for placing reinforcing steel in deck slabs. |
| Section 555 – Steel Structures | | |
| 555.16(f)(7)*(b)* | 01 NOV 2024 | This subsection is revised to delete alternate fasteners. As written, the specification would allow contractors to skip torque verification when using twist-off type fasteners. We want torque to be verified unless the contractor uses Direct Tension Indicators (DTIs). |
| Section 560 – Removal of Concrete by Hydrodemolition | | |
| 560.04 | 01 APR 2025 | Corrects a printing error in the FP-24. Adds reference to Subsection 203.07. |
| Section 563 - Coating | | |
| 563.02 | 01 JUL 2024 | Adds Weathering Agent to the materials list. |
| Section 572 – Concrete Repair | | |
| 572.06 | 01 APR 2025 | Adds equipment requirements for power-driven hand tools. |
| Section 579 – Minor Bridge Work | | |
| 579 | 01 APR 2025 | Adds SCR Template for this work. |
| DIVISION 600 | | |
| Section 628 - Temporary Stream Diversions | | |
| 628.05(d) | 01 JUL 2024 | Corrects an error in the FP-24. Changed intake screen from minimum 3/32 inch to maximum 3/32 inch mesh. |
| Section 635 - Temporary Traffic Control | | |
| 635.25 | 01 APR 2025 | Corrects LOS error in the subsection numbering for Acceptance. |
| 635.26 | 01 APR 2025 | Corrects LOS error in the subsection numbering for Measurement. |
| DIVISION 700 | | |
| Section 703 - Aggregate | | |
| 703.07 | 01 APR 2025 | Corrects LOS error in subsection numbering for asphalt concrete aggregate. |
| Section 712 – Joint Material | | |
| 712.01(h) | 01 APR 2025 | Corrects FP-24 formatting error for pre-compressed foam-supported silicone joint seal. |
| 712.01(i) | 01 APR 2025 | Corrects FP-24 formatting error for pre-compressed foam-supported silicone joint seal. |
| 712.01(k) | 01 APR 2025 | Corrects LOS subsection numbering error for expanded polyethylene. |
| Section 714 - Geosynthetic Material | | |
| 714.01(c) | 01 NOV 2024 | This new SCR is needed because Section 714 of the FP no longer specifies the strength and durability properties of geosynthetic materials. A project specific SCR is required to specify the minimum permittivity and maximum apparent opening size of geotextile filters based on the gradation of the in-situ soil. |
| 714.01(d) | 01 APR 2025 | Revised AASHTO M 288 to AASHTO M 355 because AASHTO changed their test methods. |
| 714.01(e) | 01 APR 2025 | Revises AASHTO M 288 reference from Table 12 to Table 11. |
| 714.01(e) | 01 NOV 2024 | This new SCR is needed when very soft / weak subgrades require a product with higher reinforcement strength than a typical soil stabilization geotextile. |
| 714.03 | 01 APR 2025 | Revises AASHTO M 288 reference from Table 12 to Table 11. |
| 714.04 | 01 APR 2025 | Revises AASHTO M 288 reference from Tables 9 and 10 to Tables 8 and 9 respectively. |
| 714.06 | 01 APR 2025 | Revises AASHTO M 288 reference from Tables 9 and 10 to Tables 8 and 9 respectively. |
| Section 725 - Miscellaneous Material | | |
| 725.02(b) | 01 NOV 2024 | Revised to allow calcium chloride flakes or pellets, and to specify the required Grade (concentration). |
| 725.21 | 01 JUL 2024 | Moves requirements for weathering agent from Section 725.19 to 725.21. |